# GENERAL

## RELATED DOCUMENTS

### Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification sections, apply to work of this section.

## SUMMARY

### This section specifies hardware required to be installed on all doors that will be controlled by the University’s electronic door access control system.

## SUBMITTALS

### Product Data:  For each type of product indicated.

### Shop Drawings:  Details of electrified door hardware.

# PRODUCTS