Interior Room, Space and Door

Numbering Standards

Facilities Planning and Construction

2013

Table of Contents

1	Introduction	2

1.1	Overview of Interior Numbering Standards	2

2	Purpose	3

2.1	Unique Numbering Assignments	3

2.2	Wayfinding	3

2.3	Implementation	3

3	Production	4

3.1	UNL Defined Spaces	4

3.2	Numbering Assignment Steps	5

3.2.1	Determine the Location of Main Entrance	5

3.2.2	Determining Floors and Levels	5

3.2.3	General Circulation Spaces	5

3.2.4	Numbering Direction and Pattern	6

3.2.5	Suites, Sub-Rooms, Rooms within Rooms	6

3.2.6	Skipping Numbers	6

3.3	Diagrammatic Room, Space, Area Number Examples	8

3.3.1	Figure 1	8

3.3.2	Figure 2	9

3.3.3	Figure 3	10

3.3.4	Figure 4	11

3.4	Inclusions	7

4	Existing Numbering	12

4.1	Adapting New and Existing	12

4.2	Renumbering Notification Process	12

5	Signage	15

5.1	Interior Signage Policy & Procedure	15

6	UNL Space & Planning Requirements	15

6.1	Room Numbering	15

6.2	Door Numbers	15

6.3	Room and Space Area	16

# Introduction

## Overview of Interior Numbering Standards

The University of Nebraska–Lincoln Facilities Planning and Construction Department (UNL FPC) is responsible for maintaining electronic “as-built” archived construction documents produced as part of capital construction projects.

UNL FPC is responsible for generating and maintaining accurate electronic archived documents for all campus facilities.  These archives support many campus entities and initiatives including telecommunications, building automation systems, CCTV, maintenance management, security, Institutional Research & Planning (IRP) and Geographic Information Systems (GIS).  Also of importance these archives become a reference for interior building signage, wayfinding, building access control, door keys and door hardware all of which is used by UNL Police for security and first responders.

In order to support UNL FPC’s missions, a well-defined and detailed set of Interior Room, Space and Door Numbering Standards are required in order to maximize efficiencies, security and usability by all UNL departments.

This document details UNL FPC’s Room, Space and Door Numbering Standards for the production and delivery of floor plans or other documents required for all capital construction projects, internal FPC projects and/or any field modifications.

These procedures outline herein the numbering convention standards are to be exclusively used at the University of Nebraska–Lincoln.  Although these should be easily applied to most projects, logical discretion must be used to effectively apply the conventions in special circumstances.  There shall be no alternate numbering convention introduced without a written waiver approved by the UNL Project Manager, FPC, BSM and Police.  In which case, care must be taken and adequate review built in, to ensure an exception does not become the rule.

# Purpose

## Unique Numbering Assignments

The intent is to Identify and assign numerical and alphanumerical numbers to each individual room, space and area in each University building or structure.  Every door throughout a building or structure shall subsequently be assigned a numerical or alphanumerical number that directly correlates with the number of respective room, space or area.  All room, space, area and door numbers shall be unique and never duplicated throughout a building regardless of the floor or level.

## Wayfinding

A unique numbering standard is required in order to provide proper signage, which is fixed, tamper resistant and in compliance with ADA regulations.  A numbering standard can also be used for navigation, if planned properly. If room, space and area numbers are sequential and include location designations, they can help to provide information and guide University employees, students, visitors and emergency first responders, both sighted and visually impaired, to their destination.  The unique numbering also provides UNL Custodial Services and UNL Building System Maintenance valuable information without the need for a prior site investigation.

## Implementation

To identify early in a project design process so that all construction activity, equipment, door hardware, building materials and closeout documents refer to a single UNL standard room, space, area and door number.  In lieu of misinterpreting construction numbers with contract document numbers and with final UNL numbers; a single number following the UNL numbering standard shall be used from the onset of the project.

When capital construction projects, renovations or internal UNL projects require the modification or revision of rooms, spaces, areas, doors or the circulation within a building or structure a well-defined room, space, area and door numbering arrangement must be submitted to UNL FPC for review.  This review submittal shall be incorporated into the Design Development phase via a floor plan drawing and shall strictly follow the numbering standards set forth herein.

UNL FPC requires that vendors submit the most current version of AutoCAD®.dwg formatted CAD files for all capital construction Design Development reviews that are fully compliant with all of the standards outlined in the UNL CAD Standards.  PDF files will be an alternate form accepted at this phase for numbering assignment review by UNL only as supplemental information.

# Space Numbering Production

## UNL Defined Spaces

Main Entrances are outside door openings into a building accessible to the public.

Hallways / Corridors are defined as circulation areas accessible to the public.

Custodial/Building Service Rooms are building service rooms controlled by Custodial Services.

Mechanical / Electrical Rooms are building service rooms controlled by Building Systems Maintenance.

Restrooms are designated for use by Men / Women / Unisex / Private or Family.

Stairways that are inside the building are given a number for identification.

Telecomm Rooms are rooms that house networking equipment controlled by telecommunication services.

Closets are numbered according to the room they are attached to using an alphabetic designation.

Chase/Shafts are inaccessible spaces built inside a building to house mechanical equipment or wiring.

Alcoves are recesses or small rooms adjacent to or opening out of a room. These spaces are not defined as rooms and will not be numbered.

Vestibules are antechambers between the exterior door and the interior parts of the building.

Lobbies/Commons are considered halls, foyers or waiting rooms at or near the entrance to a building that is not enclosed.

Suites are a series of attached rooms with a primary room that has entrance from a corridor.

Connecting/Adjacent Rooms are rooms or suites joined by a shared door, all of which have a hallway entry.

Individual Rooms have four walls with a hallway entry.

Partial Walls or Counter Space Rooms should be numbered within the larger space.

Cubicles are furniture and not defined as rooms and will not be numbered by A/E vendors or by UNL FPC.  However these spaces will be accounted for and numbered separately by UNL IRP with a unique nomenclature different than that described herein.

## Space Numbering Assignment Steps

### Determine the Building Main Entrance

Although there will be several entrances to any building, there is one that by design is considered the main entrance. This must be identified and will serve to maintain coherence to the numbering pattern.

### Determining Floors and Levels

Enter the building or in drawing plan view begin at what is determined to be the main or primary entrance.  Upon entering the building main entrance, the first floor at or just above grade shall be considered the first floor.  Subsequent floors above the first floor and accessible to the public or considered circulation spaces will be considered the second, third, fourth, etc.  Floors below the first floor will be considered the basement and then sub-basement.  Intermediate levels between floors and not used for circulation or accessible to the public are considered mezzanines.  Tunnels are not considered a floor or level.

Each floor beginning with the first floor and going up shall be represented as a hundred series number and indicated as such with a three digit numerical number for each floor.  First floor shall be 100 series, second floor 200 series, third floor 300 series, etc.  The tenth floor will be represented as 1000 series, eleventh floor 1100 series, twelfth floor 1200 series, etc.

The basement shall be represented as a three digit number, the first digit shall be a zero followed by numbers 1 – 99 such that the number resembles 001; 012; 023; 047; etc.  Sub-basements shall all be represented with an alphanumeric ‘SB’ preceding a two digit number 1 – 99 that resembles SB01; SB12; SB23; SB47 etc.

Intermediate levels such as interstitial spaces, penthouses or mezzanines shall all be represented as mezzanines and should use an alphanumeric ‘MZ’ preceding the hundred series floor number used to access these intermediate levels.  A mezzanine just above the first floor shall be MZ100 series, a mezzanine above the second floor shall be MZ200 series, etc. Roof level penthouses shall also be represented as mezzanine levels in the same manner previously described.  If the top occupied, accessible, circulation floor of a building is the twelfth floor then the roof penthouse directly above shall be MZ1200 series.  In the event that intermediate spaces are stacked then the first level shall be represented in the same manner as previously described and the stacked intermediate level will utilize the next floor hundred series number preceded with ‘MZ’.  If the top occupied, accessible, circulation floor of a building is the twelfth floor then the mezzanine directly above shall be MZ1200 series and the penthouse directly stacked above that shall be MZ1300, etc.

### General Circulation Spaces

General circulation spaces are categorized by UNL with an alphanumeric prefix preceding a numerical number that is directly associated with the floor used to access said general circulation space.  Another single alphanumeric suffix, used to differentiate each separate circulation space per floor shall follow the numerical floor number.  The alphanumeric prefix used to represent general circulation spaces follow:

- VS – Vestibules

- CR – Corridors

- ST – Stairs

- LB – Lobbies

- EV – Elevators

- EC – Escalators

- SH – Shaft/Chase

After the primary entrance has been established immediately begin counting general circulation spaces in a counter clockwise direction.  Stairs on the first level shall be represented as ST1A; ST1B; ST1C; etc.  Stairs located on the tenth floor will be represented as ST10A; ST10B; ST10C; etc.  Stairs located in the basement will be represented as ST0A; ST0B; ST0C; etc.  Stairs in the sub-basement shall be STSBA; STSBB; etc.  Likewise Vestibules, Lobbies, Elevators and Escalators are represented in the same manner.  Corridors are also represented in the same manner.  However, multiple corridor numbers should be kept to a minimum and a number change taking place only when a major directional change occurs or when corridors change from public to private.

### Numbering Pattern and Direction

After the primary entrance has been established and the floor numbering is identified immediately begin counting rooms, spaces or areas in a counter clockwise direction.  On the first floor start counting with the number 101; second floor 201; third floor 301; etc.  Whole hundred numbers – 100; 200; 300; etc. shall not be used and are reserved for future use.  The room, space and area numbering should continue in a counterclockwise direction around the floor.  Moving around the floor counterclockwise odd numbers shall be kept on the right side of the corridor and even numbers on the left side of the corridor whenever possible.  This is the preferred directional pattern numbering method.  Refer to Figure 1 and Figure 2 below.

An alternate directional pattern numbering method is that of an up/down main corridor(s) scheme.  This can be utilized in building renovations that have existing room, space and area numbering to remain in which new numbering needs to adapt to current conditions.  It also may become necessary to use in buildings in which the preferred counterclockwise directional method is just not possible or does not flow properly.  On the first floor start at one end of the main corridor nearest the main entrance and count starting with the number 101; second floor 201; third floor 301; etc.  Whole hundred numbers – 100; 200; 300; etc. shall not be used and are reserved for future use.  Along the main building corridor, count room, space and area numbering down to the end of the corridor. If there is another main or secondary corridor, again work your way down, or back up (pending the layout) while continuing with numbering where it was left off from the first main corridor.  While numbering up/down corridors keep in mind, odd numbers shall be kept on the right side of the corridor and even numbers on the left side of the corridor whenever possible.  Refer to Figure 3 and Figure 4 below.

Floors above and below the first floor shall follow the same numbering pattern established on the first floor. It is important to note that the above methods are without regard to vestibules, corridors, stairs, lobbies, elevators and escalators as those spaces are numbered independently as previously described.  The numbering start point for each floor must vertically correspond to the start point on the first floor.  Likewise each respective floor shall also vertically follow the previous floor numbering pattern as close as possible in order to “stack” like numbers of rooms, spaces, areas and general circulation from floor to floor as close as possible.

### Suites, Sub-Rooms, Rooms within Rooms

Suites and Sub-Rooms are numbered with the same process as rooms, spaces and areas previously described herein but with an alphanumeric suffix added.  The alphanumeric suffix following the space whole numerical digit is reserved for these suite spaces, sub-rooms or room within rooms.  These spaces typically do not open solely off of corridors but have doors that open off of rooms, areas or suite spaces.  The suffixes are always an UPPERCASE digit with no decimal or hyphen between the whole number and the suffix.  Do not use the letters “I” and “O” as they may be interpreted as numerical digits.  Every consecutive sub-room or room within a room that already uses an alphanumeric suffix will use a double alpha suffix and then a triple alpha suffix if necessary.

A suite space results in the number 102 and includes three internal office spaces those spaces will receive the number of the suite space plus a single alphanumeric suffix.  Suite 102’s office spaces will be 102A; 102B and 102C.  Likewise, sub-rooms or rooms within rooms will also be represented in the same manner.  Classroom 404 has two offices, one Office 404A and the second Office 404B.  Each office has two closets, within Office 404A is Closet 404AA and closet 404AB (double alpha suffix).  The second Office 404B has Closet 404BA and 404BB (double alpha suffix).  If closet 404BA had another room or closet within it then it would receive a triple alpha suffix 404BAA.  Keep in mind, when entering a suite space, room with sub-rooms and rooms within rooms the same counterclockwise directional manner applies.  This nomenclature is duplicated and expanded upon as necessary for multiple suite spaces or multiple sub-rooms within rooms.

### Skipping Numbers

A certain quantity of numbers per floor shall be skipped as appropriate in order to reserve numbers for future subdivision or remodeling.  Care must be taken as necessary in regards to the quantity of numbers to be skipped as it relates to the square foot of respective floor.  One rule of thumb is to designate one skipped number for every 10’ (ft) of wall space along a corridor.  When skipping numbers along corridor wall space – stair shaft walls, elevator walls, escalator walls and chase/shaft walls should not be included in the 10’ (ft) rule as these walls typically will not be subdivided or partitioned in the future.  Windows, columns and other structural features may also provide clues to possible future partitioning.  Care should be taken around these structural features to leave spare numbers for future use regardless of the 10’ (ft) wall space rule.

### Inclusions and Exclusions

**Room, space and area numbers should be assigned and approved at the Design Development phase and prior to the beginning of door numbering.  Room, space and area numbers should NEVER include decimal places.  Decimals are only used to distinguish doors.

**Rooms, spaces and areas directly off of a corridor shall be numbered with whole numerical numbers and should ALWAYS begin in a 3-digit format unless the building is over 9 floors tall or has more than 99 rooms per floor, then the entire building will be built on a whole 4-digit numbering scheme.  Each format will also incorporate an alphanumeric suffix when necessary.

**Alphanumeric suffix are reserved for suite spaces, sub-rooms or room within rooms and typically do not open solely off of corridors.  The suffixes are always UPPERCASE digits with no decimal or hyphen between the whole number and the suffix.  Do not use the letters “I” and “O” as they may be interpreted as numerical digits.

**General circulation space numbers could be any combination of 4 to 7 digits in a numerical and/or alphanumerical format.

**Restrooms, Storage, Mechanical, Electrical, Elevator Machine Rooms, Custodial Closets, Maintenance and Telecomm/Data rooms shall be treated as any room, space or area and receive the same standard UNL numbering nomenclature as previously described herein.

## Diagrammatic Room, Space, Area Number Examples

### Figure 1

### Figure 2

### Figure 3

### Figure 4

# Existing Room Numbering

## Adapting New and Existing

In cases of building renovations or additions there will be rooms, spaces and areas that do not follow the current UNL numbering standard or simply do not flow with the new renovation.  These cases will require special attention to adapt the existing numbering to the new standard numbering in order for the building/floor numbers to flow correctly.  The objective is to implement this standard numbering into the entire building or at a minimum the respective floor surrounding the renovation.  A medium to large renovation project that encompasses [40%-60%] of the floor square foot shall also be responsible for renumbering the portion of the floor that is not under renovation.

There will also be smaller projects that incorporate a very minor renovation such as adding a wall or door that would require the individual room, space, area or suite to be renumbered.  These minor renovations [10%-30%] of the floor square foot would not have funds available nor be rational to require budgeted funds for renumbering an entire floor or building.  At a minimum these small projects shall renumber the area directly related to the renovation.  Secondly, any rooms, spaces and areas along the same corridor, directly across the corridor or within the same suite shall be correctly numbered.  Lastly any existing incorrectly numbered rooms, spaces and areas directly related to, or surrounding the renovation area shall also receive new numbering such that the UNL numbering flows throughout and around the renovated area.

In either of these circumstances care must be taken in order to best provide the new UNL numbering standards within the renovation as well as alter existing numbering to flow and follow the numbering standards implemented in and around the renovated areas.  It is important to note that all small, medium or large renovation project should budget funds, as appropriate to the size of the project, to renumber rooms, spaces and areas outside the actual renovation as well as rooms, spaces and areas within the renovation.  The budgeted funds are necessary for a multitude of events and processes that internally and physically occur when renumbering.  UNL Police, Custodial, Key Shop, BSM, Building Access, Research and Planning, Registrar, Class Schedules and Signage are a few of the items impacted by renumbering. Thus special care and attention to detail is required along with a Design Development submittal and review prior to the implementation of the numbering for any project large or small.

# Interior Door Numbering Production

The key to door numbering is that all rooms, spaces, areas and suites shall be numbered first as previously described herein.  The doors associated with those spaces shall then be numbered using the respective space number followed by a decimal.  After the decimal a numerical number starting at 1 is used to identify single or multiple doors within a space.

## Interior Door Numbering Assignment Steps

### Determine the Main Door Entrance

Although there may be several entrances to any space, there is one that shall be designated as the “main door” entrance.  This will always be somewhat arbitrary but must be considered and identified to serve and maintain coherence of the numbering pattern.  Identifying the “main door” entrance is necessary in spaces that include multiple door entrances, rooms with sub-rooms, or suite spaces – all of which will require multiple door numbering, each with a unique nomenclature.

### Door Numbering Pattern and Direction

After the main door entrance has been established immediately begin counting doors in a counterclockwise direction beginning with the number 1.  All interior doors including half doors, overhead doors, sliding doors, glass doors and sealed or blocked doors must be counted.  Do not count entrances to spaces that are strictly wall openings or doors that have direct access to the exterior.  The quantity of doors and respective number count will act as the suffix to the complete door number.  Door numbers will be numbered with the room, space, area or suite number followed by a decimal and then ending with the previously stated door number suffix.  Only count the doors directly associated with said space, when a sub-room door, closet door or suite space door is present those shall be skipped and counted/numbered as that respective space number.

Room 104 has (4) total entrances and a sub-room; Office 104A with a door.  Room 104 entrances are; (2) man doors; (1) overhead door and (1) wall opening with no door.  The entrance determined to be the main door shall be labeled 104.1.  Moving counterclockwise the second door is an overhead door and shall be labeled 104.2.  The third is a wall opening entrance and shall not be labeled.  The next door is that of Office 104A and shall be skipped for the time being.  The last door is another man door and shall be labeled 104.3.  Moving to the skipped Office 104A door, this is numbered using that office respective room number 104A and since it’s the only door it shall be labeled 104A.1.  Refer to Figure 5 and Figure 6 below.

### General Circulation Door Numbering

General circulation door numbering is identical to that of room, space, area and suite door numbering.   The general circulation spaces shall be numbered first as previously described herein.  Then the doors associated with those spaces are numbered using the respective circulation space number followed by a decimal.  After the decimal a numerical number starting at 1 is used to identify single or multiple doors within a circulation space.  Only count the doors directly associated with said circulation space, when a second circulation space door is present those doors shall be skipped and counted/numbered as that respective circulation space door number.

The alphanumeric prefix used to represent general circulation spaces follow:

- VS – Vestibules

- CR – Corridors

- ST – Stairs

- LB – Lobbies

- EV – Elevators

- EC – Escalators

- SH – Shaft/Chase

After the primary entrance has been established immediately begin counting general circulation doors in a counter clockwise direction.  Stair doors on the first level shall be represented as ST1A.1; ST1B.1; ST1C.1; etc.  Stair doors located on the tenth floor will be represented as ST10A.1; ST10B.1; ST10C.1; etc.  Stair doors located in the basement will be represented as ST0A.1; ST0B.1; ST0C.1; etc.  Stair doors in the sub-basement shall be STSBA.1; STSBB.1; etc.  Likewise Corridor, Vestibule, Lobby, Elevator and Escalator doors are represented in the same manner.

# Numbering Approval, Use and Notification

## Process

When new numbering is introduced into a building or when it becomes necessary for existing numbering to be altered as a result of a renovation to flow and follow the UNL numbering standard, there’s a process to follow for submittal, approval, use and notification through multiple UNL departments.

## Information Gathering

The first step is to research the UNL Geographic Information System (GIS) and/or coordinate with UNL official archived baseplans and then consult with UNL Institutional research and planning (IRP) as to the availability of spare numbers, existing numbers in use and the existing institutional use of rooms, spaces and areas proposed for renumbering.

## Submittal and Use

Once the existing numbering, space use and spare numbers have been determined the next step is to start numbering or renumbering using the steps described herein.  Room, space, area and door numbering shall be completed by the Design Development (DD) phase and submitted to UNL FPC for review.  This review shall be approved by UNL FPC prior to moving forward with any numbering.  The approved numbers will become the official project numbers used throughout the design, including any schedules that reference these numbers and solely used by all project consultants and contractors on the construction project site.

## Notification

University wide notification and implementation of new or revised numbers fall upon UNL FPC.  The A/E vendor and/or UNL project manager shall first notify UNL FPC CAD baseplan department.  UNL FPC CAD baseplan department will initiate contact with all other appropriate University departments and personnel.  The CAD baseplans will also be updated with new and revised numbering per the DD documents and provided as reference to these departments and personnel for use during the construction process.

Periodic design or construction changes throughout the project that involve any numbering changes shall be relayed to UNL FPC CAD baseplan department so that all other University departments and personnel can subsequently be notified of these changes as soon as possible.  Updated information of any added or revised numbers is critical as other UNL departments are simultaneously using these design/construction numbers for their own departments use that references these numbers during construction.

Additional UNL required notification steps can be found under a separate cover entitled; Baseplan Update Procedure Standard.

# Baseplans

## Baseplan Update Procedure

UNL official archived drawings and plans referred to as baseplans shall also be included as part of the renumbering notification process.  Notify, coordinate and work alongside UNL Facilities Planning and Construction to provide up to date As-Built documents that accurately reflect the most current construction/renovation changes as well as all new numbering or renumbering that has occurred.

The UNL Baseplan update procedure is located here:  Hyperlink Under Construction

# Signage

## Signage Policy & Procedure

As part of the renumbering process; notifying, coordinating and working alongside UNL Facilities Planning and Construction Signage department will be required.

The UNL signage policy and procedure is located here:  http://fmp.unl.edu/policies/interior-signage-policy-procedure

The UNL signage and wayfinding standards manual is located here: http://fmp.unl.edu/fpc/Wayfinding_and_Signage_Standards_Manual_2009.pdf