Introduction

The University of Nebraska – Lincoln (UNL) Facilities Planning and Construction Department (FPC) is responsible for archiving electronic “as-built” construction documents produced as part of capital construction projects.

In addition UNL FPC is responsible for generating and maintaining detailed electronic floor plans for all campus facilities.  These floor plans support campus telecommunications, building automation systems, CCTV, access control, maintenance management, Institutional Research & Planning (IRP) initiatives and Geographic Information Systems (GIS).

This document details UNL FPC’s Computer Aided Design / Drafting (CAD) standards for the production and delivery of CAD documents for all capital construction projects.

The Need for CAD Standards

Because of FPC’s responsibilities as outlined in the introduction, there is a need for a consistent methodology and well defined set of CAD deliverables required in order to to maximize both long and short term usability.

Design and “As-Built” AutoCAD Files

We require that all outside A/E’s will submit AutoCAD “dwg”  formatted CAD files upon project closeout that are fully compliant with all of the standards outlined herein.  Furthermore, these files should have no significant loss of drawing entities or project data that can result from standard CAD file translation procedures.  PDF and DXF files will not be accepted at project closeout as a substitution for DWG CAD file deliverables.

Building Information Modeling (BIM)

The University recognizes the benefits of BIM software but has not developed well defined standards for deliverables that make use of this technology.  As this technology continues to evolve, UNL FPC will review and expand these CAD Standards to include BIM software in order to ensure consistency in computer models.  Any BIM model received for design and construction projects shall be submitted in the latest version of Autodesk Revit “rvt” format or be Revit compatible.  Any such BIM design models shall also be accompanied with a converted version of the drawings in the latest addition of AutoCAD “dwg” format.

CAD Production

The intent for the standard production of drawings and plans is to allow a multitude of personnel to review, revise, share, maintain and print various archived projects which all have similar parameters.  These parameters include:

- Layering and colors

- Scale factors and line types

- Font type and size

- Room and door numbering

- Title block and sheet titles

- Drawing sequence and sheet numbers

- Model/Paper space and external reference files (XRefs)

UNL FCP has adopted the latest version of AIA CAD Guidelines found in the United States National CAD Standard.  All layer names, description and Linetype parameters shall follow these standards.  However, some layers parameters in the AIA CAD Guidelines have been pre-defined by UNL FPC with set Colors and Linetypes in order to maximize the printed clarity of archived drawings to conform with core layer pen weight/color assignments.  It shall be required that all A/E consultants, sub-consultants and any other Vendors providing CAD documents to the University adopt the AIA CAD Guidelines as well as implement the University pre-defined parameters described herein.