UNL Sewer Systems:  The University of Nebraska – Lincoln owns, operates and maintains the underground sanitary sewer systems that serve the majority of East Campus and parts of City Campus.  Each system is served by gravity drainage.  Each system on both campuses ultimately feeds into the sewage processing facility that is owned and operated by the City of Lincoln.  Sewage is transported from the various UNL systems to the City Wastewater System directly through UNL owned sewer systems.

Compliance:  The design and construction of all sanitary sewer systems on campus shall be in complete compliance with the current revision of the Standard Specifications for Water and Sewer Main for the City of Lincoln.  These standards are to be viewed as the “final authority” for establishing the minimum requirements of water distribution systems.  They shall also be in full compliance with all applicable requirements of the Lincoln Wastewater System. The requirements of these documents often exceed the minimum requirements referenced above.  When they do, they shall be complied with.

Minimize Clear Water:  It is the goal of the UNL to minimize the amount of clear water that is discharged into any sanitary system(s) on campus that, according to the Illinois State Plumbing Code, could have been discharged outdoors or into a storm water drainage system.

Future Considerations:  All sewer piping shall be sized and configured appropriately to serve the ultimate future need for the removal of sewage in the geographical area being served.

Manholes:  A manhole shall be provided at each change in direction of the piping system as well as at 300-400 ft. intervals (minimum).

Documentation and Submittals: The AE shall review the Project Submittal Requirements.