- Scope:  The specific regulations, codes and standards referenced in these Standards should not be considered as a complete listing of all requirements.  Other authoritative guidelines should be referenced by the AE and applied consistent with good practice to achieve the required institutional quality.  All new construction and remodeling work at the University of Nebraska-Lincoln must comply with the following requirements.

- Definitions:  Following are working definitions of the terms “regulations”, “codes” and “standards” as used within the University of Nebraska-Lincoln Design Guidelines

- Regulations:  Regulations are rules or statutory requirements of government agencies such as the Federal Government, the State of Nebraska and the University of Nebraska-Lincoln.

- Codes:  Codes are sets of rules and guidelines for design, prepared by a designated governmental and/or professional group, which are intended to protect public safety and welfare.  Some Standards are recognized as Codes.

- Standards:  Standards are requirements set by authorities, custom or general consent and established as criteria by UNL.

- Authority Having Jurisdiction (AHJ):  The University of Nebraska-Lincoln is the AHJ on Code interpretation. The UNL Building Official serves as the AHJ for the UNL system.

## Regulations, Federally Mandated:

Americans with Disabilities Act (ADA)

DHHS:

Title V: Handicapped Accessibility

Title IX:  Regulations Prohibiting Sex Discrimination in Education

EPA:

40 C.F.R. Chapter I: Protection of the Environment

40 C.F.R. 61 Subpart M: Asbestos NESHAP

40 C.F.R. 763 Subpart E:  AHERA Asbestos in Schools

40 C.F.R. 745:  Lead-Based Paint Poisoning Prevention in Certain Residential Structures

OSHA:

29 C.F.R. 1926:  Construction Industry

29 C.F.R. 1910:  General Industry

SHPO:

National Historic Preservation Act of 1966, as amended

USDOT:

49 C.F.R. Parts 100-185: HAZMAT

HUD:

24 C.F.R. 35:  Lead-Based Paint Poisoning Prevention in Certain Residential Structures

Regulations, State Mandated:

# Codes:

ANSI/ASME:

Standard 17.1, Safety Code for Elevators and Escalators, 2007/CSA B44-07 and Performance-Based Safety Code for Elevators and Escalators (ASME A17.1-2007/CSA B44.7-07

Standard 17.3-2008, Safety Code for Existing Elevators and Escalators

ASME A17.2-2007 Guide for Inspection of Elevators, Escalators and Moving Walks

ASME A18.1-2008 Safety Standard for Platform Lifts and Stairway Chairlifts

ASME QEI-1-2007 Standard for the Qualification of Elevator Inspectors

Standard B31.4-95 Boiler and Pressure Vessels Code

ASCE:

ASCE 21-Part 1 2005/2006, ASCE 21 Parts 2-4 2008

International Building Code, 2009 Edition

International Energy Conservation Code, current adopted edition (2009)/ASHRAE 90.1-2007

NFPA 101, Life Safety Code, National Fire Protection  Association, as currently adopted by the Nebraska State Fire Marshal (2000)

Applicable NFPA pamphlets currently listed by the Nebraska State Fire Marshal

ANSI Standard A17.1 for Elevators and State of Nebraska Elevator Inspector requirements.

International Plumbing Code, 2009 Edition.

International Mechanical Code, 2009 Edition

International Fuel Gas Code, 2009 Edition

International Existing Building Code, 2009 Edition

National Electrical Code (NFPA 70) 2011 Edition

### Standards:

AAADM:

American Association of Automatic Door Manufacturers

AAN:

American Association of Nurserymen.

AAMA:

American Architectural Manufacturers Association (AAMA) 101: 	Appendix Dissimilar Materials.

ACGIH:

Industrial Ventilation

ACI:

Manual of Concrete Practice

Standard 318-2005, Building Code Requirements for Structural Concrete

AGA:

AGA Plumbing Standards

AMCA 500   Test Method for Louvers, Dampers and Shutters

ANSI:

ANSI Manuals as applicable for design and construction methods, including, but not limited to:

Standard Z358.1, 2004 Emergency Eyewash and Shower Equipment

ANSI/AIHA American National Standard for Laboratory Ventilation, ANSI Z 9.5

ANSI/INFOCOMM 1M-2009, Audio Coverage Uniformity in Enclosed Listening Areas.

ANSI/SDI A250.8-2003 (R2008) Recommended Specifications for Standards Steel Doors and Frames

ANSI/TIA-569B Commercial Building Standard for Telecommunications Pathways and Spaces

ANSI/ASA S12.60-2002; Acoustical Performance Criteria, Design Requirements, and Guidelines for Schools

ANSI/ASHRAE:

ASHRAE Manuals as applicable for design and construction methods, including, but not limited to:

Standard 15, Safety Code for Mechanical Refrigeration

Standard 55, Thermal Environmental Conditions for Human Occupancy

Standard 62, Ventilation for Acceptable Indoor Air Quality

ANSI/NFPA 90A   Installation of Air Conditioning and Ventilating Systems

ARI 890 – Rating of Air Diffusers and Air Diffuser Assemblies

ASCE:

Standard 7-05, Minimum Design Loads for Buildings and Other Structures

ASHRAE:

Standard 52.2, Method of Testing General Ventilation Air-Cleaning Devices

ASHRAE 70   Method of Testing for Rating the Air Flow Performance of Outlets and Inlets

Standard 90.1, 2007 Energy Efficient Design of New Buildings

AWWA:

Water and Sewer Main Construction

CPSC:

Architectural Glazing Materials

NFPA: Applicable Pamphlets

NIH:

Guide for the Care & Use of Laboratory Animals

SMACNA:

IAQ Guidelines for Occupied Buildings Under Construction, 2nd edition ANSI/SMACNA 008–2008

1035 - HVAC Duct Construction Standards - Metal and Flexible

The University of Nebraska at Lincoln Design Guidelines: